## target standard curve+PCR eff.
Real Time PCR: Standard curve and PCR Efficiency
Insert your data in yellow cells only, the rest is calculated
cycle #
| cDNA input |  | crossing threshold
dilution | cDNA amount | ln cDNA | Ct (or CP)
1x | 1 | 0 | 30.7208
3x | 0.33333 | -1.0986 | 34.1197
9x | 0.11111 | -2.1972 | 37
27x | 0.037037 | -3.2958 | 39.5
81x | 0.012346 | -4.3944 | 42
|  | k | -2.5431 | linear fit of the ln-values
|  | d | 31.0803
y = kx + d
| slope (calc. for 10x dil.) |  | -5.8557
| PCR efficiency |  | 1.4817
PCR-efficiency = 10 (-1/slope)
The PCR efficiency has to be determined both for the target gene and the reference (housekeeping) gene by qPCR analysis of serial dilutions (either from cDNA or from a plasmid containing the respective gene). The threshold crossing point values (Ct or CP) are linearly correlated with the logarithmic value of the DNA amount. The slope of this line gives the PCR efficiency for this gene under the given parameters (primers, PCR-protocol...). It has to be determined at least once for a given qPCR protocol. If you determine this standard curve with a known molarity of the gene, it can be used to estimate copy numbers of mRNAs per cell (given that you know the number of cells from which you extracted the mRNA used for reverse transcription to cDNA)
Citation: Pfaffl MW: A new mathematical model for relative quantification in real-time RT-PCR. Nucl Acids Res 2001, 29(9):e45
PCR eff. is ideally 2.0 (for doubling of DNA at each cycle)
linear regr. of Ct / ln(DNA):
The PCR efficiency calculated for the target gene standard curve in this sheet is directly used in sheets 3 and 4 of this template: fold induction and fold induction (tripl.) to calculate up- or downregulation of a certain gene (normalized to a reference gene) for a given treatment as compared to a control.

## refer. standard curve+PCR eff.
18S | Real Time PCR: Standard curve and PCR Efficiency
Insert your data in yellow cells only, the rest is calculated
cycle #
| cDNA input |  | crossing threshold
dilution | cDNA (ng or µl) | ln cDNA | Ct (or CP)
1x | 1 | 0 | 11.5945
3x | 0.33333 | -1.0986 | 14.9266
9x | 0.11111 | -2.1972 | 16.9258
27x | 0.037037 | -3.2958 | 18.627
81x | 0.012346 | -4.3944 | 19.8916
| linear regr.: | k | -1.8473
|  | d | 12.3341
y = kx + d
| slope (calc. for 10x dil.) |  | -4.2536
| PCR efficiency |  | 1.7183
logarithmic fit:
Pfaffl M.W. Nucleic acid Research 2001, vol 29
PCR-efficiency = 10 (-1/slope)
The PCR efficiency calculated for the reference gene standard curve in this sheet is directly used in sheets 3 and 4: fold induction and fold induction (tripl.) to calculate up- or downregulation of a certain gene (normalized to a reference gene) for a given treatment as compared to a control.

## fold induction
Insert your data in yellow cells only, the rest is calculated
| target gene | reference gene
PCR efficiency | 1.4817 | 1.7183
Ct values | Ct target | Ct reference | fold induction
control | 31.43 | 8.65 | 1
treatment 1 | 27.35 | 7.78 | 3.1062
treatment 2 | 28.32 | 7.88 | 2.2391
treatment 3 | 27.84 | 7.83 | 2.6321
treatment 4 | 30.48 | 8.64 | 1.4451
Type or copy the Ct-values of your target gene and your reference gene into the yellow cells and the template will calculate the "n-fold of control" accordingly. If you have more than 4 treatments that you compare with the control you have to extend the columns respectively (and you have to click on the columns in the graph to alter the data source accordingly)
Citation: Pfaffl MW: A new mathematical model for relative quantification in real-time RT-PCR. Nucl Acids Res 2001, 29(9):e45

## fold induction (tripl.)
Insert your data in yellow cells only, the rest is calculated
| target gene |  |  |  | reference gene
PCR efficiency | 1.4817 |  |  | mean | 1.7183 |  |  | mean |  |  |  | mean
Ct values | Ct target A | Ct target B | Ct target C | Ct target | Ct ref. A | Ct ref. B | Ct ref. C | Ct reference | fold of control A | fold of control B | fold of control C | fold of control | SD
control | 32.16 | 32 | 32.2 | 32.12 | 26.77 | 26.77 | 26.77 | 26.77 | 1 | 1 | 1 | 1 | 0
treatment 1 | 31 | 30.5 | 30.7 | 30.7333 | 27.85 | 27.85 | 27.85 | 27.85 | 2.8314 | 3.2364 | 3.2364 | 3.1014 | 0.23384
treatment 2 | 32.94 | 33 | 32.5 | 32.8133 | 27.16 | 27.16 | 27.16 | 27.16 | 0.90883 | 0.83352 | 1.0976 | 0.94666 | 0.13606
treatment 3 | 34.14 | 34 | 34.3 | 34.1467 | 27.66 | 27.66 | 27.66 | 27.66 | 0.7432 | 0.73737 | 0.70894 | 0.72984 | 0.018329
treatment 4 | 32 | 32.3 | 33 | 32.4333 | 25.3 | 26 | 25.8 | 25.7 | 0.48054 | 0.58579 | 0.43185 | 0.4994 | 0.078682
You can use this template if you have triplicates of your samples. Copying the Ct-values into the yellow cells will calculate the mean values and standard deviations for n-fold of control (please note that the calculation is based on three separate cDNA samples and not on performing the qPCR three times with the same cDNA sample)